## Slide 1: Design of a condenser
by,
C. Monica(119010051)
N. Sangavi(119010072)
A. Atchaya(119010010)

## Slide 2: Introduction:
  Condenser :
      A heat transfer equipment which converts vapor into liquid. Every refrigerator will have a condenser. The super heated steam is injected from one side ie. hot fluid(steam) from another side cold fluid has been injected. Mostly hot and cold fluid flows counter current direction. Shell side contains hot fluid and the tube side have cold fluid. The process is the hot fluid transfer heat to the cold fluid.

## Slide 3: Condenser:

## Slide 4: Aim:
To find the dimensions to design a condenser for the given fluids by with suitable assumed parameters.

## Slide 5: Input:
  Hot and cold fluid inlet and outlet temperature.
  Flow rate of the fluids
  Latent heat vapourization
  Vapour pressure at shell side fluid.
  fluid parameters(dynamic viscosity, density, specific heat capacity,thermal heat conductivity)

## Slide 6: Conditions:
Outer diameter of the tube: ½ - ¾ inches
Length of the tube: 3 – 5 m
Tube side velocity: 1 - 3 m/s
Tube pitch is 1.25 times the outer diameter of the tube

## Slide 7
Pseudo code:
Classes, variables and functions used:
Class: Fluid
Attributes (data members):
Name of fluid(hf,cf)
Mass flow rate(Mh)
Inlet temperature(Ti)
Density of vapour and liquid(
Specific heat capacity(CP)
Dynamic viscosity(µ)
Thermal heat conductivity(k)
Reynold’s number(Re)
Prandtl number(Pr)
Nusselt number(Nu)

## Slide 8
Variables:
Q (Rate of heat transfer)
d (Heat transfer coefficient (dirt))
Uc (Heat transfer coefficient (clean))
Ao (Heat transfer area)
Ut(tube side velocity)
LMTD (corrected LMTD)
Nt (Number of tubes)
Np (Number of tube passes)
Hi(heat transfer coefficient at the inner surface)
Ho(heat transfer coefficient at the outer surface)
rd(dirt_factor_given)
rc(dirt_factor_cal)

## Slide 9
Functions:
getUd(name of hot fluid, name of cold fluid) -gets the min and max value of Ud from the table and returns the range of Ud as a tuple
calcLMTD() -calculates LMTD
Output:
Pitch : Triangular pitch
Shell diameter
Correction factor
Vapour loading
Number of tubes
Length of tubes
Diameter of tubes
Tube side and shell side pressure drops